23002_RT_Shielding_Questions

- According to the International Commission on Radiological Protection 2007 update, which of the following abdominal organs has the lowest tissue weighting factor?

  - Bone marrow

  - Colon

  - Gonads

  - Stomach

- All the following rationales contributed to the American Association of Physicists in Medicine statement on discontinuing gonadal and fetal shielding, EXCEPT:

  - Shielding may conceal pathological findings

  - Shielding does not decrease gonadal dose cause be scatter created within the patient

  - Improved detectors and generators have significantly reduced the entrance skin dose of ionization radiation

  - Patients overwhelmingly prefer no gonadal/fetal shielding during imaging examinations

- Which of the following x-ray procedures does NOT increase the radiologic technologist's risk of exposure due to scatter radiation?

  - Mobile examinations

  - General fluoroscopy

  - Magnetic resonance imaging

  - C-arm fluoroscopy

- A 2020 study found that radiation exposure to all organs changed by what percentage when using a gonadal shield with automatic exposure control equipment?

  - Reduced by 50%

  - Reduced by 25%

  - Increased by 25%

  - Increased by 50%