23002_RT_Shielding_Questions

- Which of the following abdominal organs has the lowest tissue weighting factor?

  - Bone marrow

  - Colon

  - Gonads

  - Stomach

- All the following rationales contributed to the AAPM statement on discontinuing gonadal and fetal shielding, EXPECT:

  - Shielding may conceal pathological findings

  - Shielding does not decrease scatter created within the patient

  - Improved detectors and generators have significantly reduced the entrance skin dose of ionization radiation

  - Patients overwhelmingly prefer no gonadal/fetal shielding during imaging exams

- When performing an imaging procedure, which of the following DOES NOT support the ALARA principle?

  - Center the primary bean to the anatomy of interest

  - Minimize use of personal protective apparel for C-arm fluoroscopy

  - Minimization of artifacts

  - Protect unnecessary from exposure

- A 2020 study found that radiation exposure to all organs change by what percentage when using a gonadal shield with automatic exposure control (AEC) equipment?

  - – 50%

  - – 25%

  - + 25%

  - + 50%