Post-Test

- Which substance did Thomas Edison find to offer the most fluorescence during his development of the first fluoroscope?

  - Calcium Phosphate

  - Calcium Tungstate

  - Barium Sulfate

  - Barium Tungstate

- What part of the fluoroscopic image equipment is located under the x-ray table in traditional fluoroscopy machines?

  - X-Ray Tube

  - Image Intensifier

  - Flat-Panel Detector

  - TV Monitor

- Fluoroscopy offers radiologists the ability to view ___________ images and reposition the patient as needed during the exam.

  - Static

  - Cross-Sectional

  - Dynamic

  - Reconstructed

- Which genitourinary fluoroscopic procedure is the most common in pediatric patients?

  - Intravenous Pyelogram/Intravenous Urogram (IVP/IVU)

  - Retrograde Urethrogram

  - Cystogram

  - Voiding Cystourethrogram (VCUG)

- Whenever possible, magnetic resonance imaging (MRI) or what other modality should be used for pediatric patients to limit or eliminate radiation dose?

  - Computed Tomography (CT)

  - Ultrasound

  - Nuclear Medicine

  - Diagnostic Radiography

- When a patient is immobilized for a procedure, it is considered restraint unless consent is obtained from whom?

  - The patient

  - The caregiver

  - The ordering physician

  - The technologist performing the exam

- What term is typically used to describe fluoroscopy procedure dose?

  - Dose area product (DAP)

  - Dose length product (DLP)

  - Dose rates

  - Fluoroscopy rates

- Which organization outlines the educational and competency requirements for radiologists, radiologic technologists, and other ancillary personnel performing or assisting with fluoroscopic procedures?

  - American Association of Physicists in Medicine (AAPM)

  - American College of Radiology (ACR)

  - Image Gently® Alliance

  - National Council on Radiation Protection and Measurements (NCRP)