Introduction to Dual-Energy CT

Learning Objectives

Upon completion of this course, the participant should be able to:

- Explain how dual-energy CT imaging differs from standard single-energy CT, including how spectral separation and material decomposition are achieved

- Summarize the advantages and disadvantages of different methods of dual-energy CT data acquisition

- Discuss the uses of dual-energy post-processing applications including virtual monoenergetic images, virtual non-contrast images, iodine-enhanced images, and virtual non-calcium images

- Describe the clinical applications of dual-energy CT in the cardiovascular, abdominal, musculoskeletal, neurological, and oncological areas.

Outline

Introduction

- X-ray Physics Review

  - Compton scattering

  - Photoelectric absorption

  - kVp vs keV

- Principles of DECT

  - CT number ratio and spectral separation

  - Methods of data acquisition

    - Source-based

      - Dual-source

      - Single-source with rapid kV switching

    - Detector-based

    - Methods not commonly used

      - Sequential scanning

      - Single-source with filters

  - Dose considerations

- Post-Processing Applications

  - Weighted average/blended images

  - Virtual monoenergetic images

    - Low-energy images

    - High-energy images

  - Material-specific images

    - Virtual non-contrast images

    - Iodine-enhanced images and iodine maps

    - Virtual non-calcium images

    - Atomic number maps

- Clinical Applications

  - Cardiovascular

    - Vascular – Pulmonary Embolism

    - Cardiac

  - Abdominal

    - Incidental mass characterization

    - Renal

    - Liver

    - Pancreas

    - Biliary system

    - Gastrointestinal tract

  - Musculoskeletal

    - Bone marrow edema

    - Gout

  - Neurology

    - Hemorrhage

    - Post-thrombectomy

  - Oncology

- Integration of DECT into a clinical site

  - Workflow

  - Hardware

  - Protocols

- Future Considerations in the Field of CT

  - Photon counting CT

Conclusion