Forensic Radiography: Post Test

- Forensic radiography is defined as the use of ionizing radiation to:

- Determine the cause of death

- Determine the time of death

- Avoid potential disfigurement of a cadaver

- Gather, analyze, and interpret evidence that may be used in courts or legal matters

.

2. Which of the following would NOT be considered a use of forensic radiography?

  - A photographic or videotaped recording of a cadaver dissection

  - Investigation of nonfatal injuries in a case of suspected child abuse

  - Detecting a forged document

  - Identifying an art forgery

3.  In a PMCT scan, different types of tissues (eg, soft tissue, lung, bone, brain) can be distinguished by adjusting

a. X-ray attenuation windows

b. kVp

c. mAs

d. x-ray tube aperture

4.    A polygon mesh displays information the _________ of an object.

a Volume

b. Surface

c. Density

d. Temperature

5. A study that examined the accuracy of PMCT found that it was able to correctly identify the cause of death 100% of the time for several types of common pathologies. The accuracy of PMCT was lowest for deaths involving:

a. Acute heart failure

b. Intracranial bleeding

c. Gunshot wounds

d. Pneumonia

6. The use of _______________ can distinguish ferromagnetic objects from nonferromagnetic objects.

a. IV contrast

b. Attenuation windowing

c. Dual-energy CT

d. Multiplanar formatting

7. Research suggests that PMCT may be more sensitive than traditional autopsy for detecting bony injuries, with the exception of the:

a. Ribs

b.Skull

c.  Larynx

d. Spine

8. Which of the following would be most appropriate for identifying potential lesions of the laryngeal skeleton in a case of suspected strangulation?

- Dual-energy CT

- 3D printing

- Micro-CT

- Air contrast

9. A key limitation of water-based contrast in PMCT is associated with ___________ shortly after death.

- Liquefaction of fat

- Rigor mortis

- Increased vascular permeability

- Ectopic air deposits