Using Portable MRI for Bedside Neuroimaging

Jessyca B. Wagner, Ph.D., RT(R), CIIP

Learning Objectives:

Upon completion of this directed reading, readers will be able to:

- Explain portable magnetic resonance imaging (pMRI).

- IDENTIFY uses for MRI in neuroimaging.

- Discuss the logistics of using pMRI at the bedside.

Outline:

- Introduction

  - Brief explanation of MRI

  - Brief explanation of pMRI

- Neuroimaging

  - Common Pathologies

  - Use of MRI for Neuropathologies

  - Barriers of Fixed MRI

- Bedside pMRI

  - Logistics

  - Use for Neuroimaging

- Conclusion

Abstract

Neuroimaging plays a crucial role in the diagnosis and treatment of neurological conditions. These conditions have been cited as one of the leading causes of death and disability worldwide; therefore, diagnosing and treating these conditions as soon as possible is of utmost importance. Magnetic resonance imaging (MRI) has been considered the gold standard for neuroimaging because of its ability to clearly demonstrate soft tissue structures. However, many patients cannot undergo MRI exams because of implants or other medical contraindications, inability to be transported to the radiology department, or lack of accessibility in rural and low-income areas. Recent FDA clearance of a portable MRI machine has helped to eliminate these barriers and bring MRI neuroimaging to an entirely new class of patients. Because of the ability to bring the machine bedside, low-field magnet strength, and relatively fast scan speeds, patients in intensive care units, emergency departments, and other critical care areas of the hospital, as well as those with claustrophobia, non-MRI safe medical devices, and other previously contraindicated conditions can now receive the same imaging as those able to undergo traditional MRI exams.

Using Portable MRI for Bedside Neuroimaging

Magnetic resonance imaging (MRI) is a non-invasive imaging modality that utilizes powerful magnetic fields and radiofrequency pulses to create detailed images of the body. MRI is most useful for imaging soft tissue structures and is currently the most sensitive imaging test of the head.1 MRI does not use ionizing radiation and instead uses radio waves to re-align hydrogen atoms that naturally exist in the body. When the hydrogen atoms return to their normal alignment, different amounts of energy are released by tissue type, detected by the scanner, and used to create the image. MRI images are created in a series of slices that can be viewed from different planes, reconstructed into three-dimensions, and processed to highlight certain areas and contrasts.1 MR imaging of the head can help diagnose many acute or chronic conditions such as developmental anomalies, hydrocephalus, epilepsy/seizure, infections, stroke, brain tumors, multiple sclerosis, hemorrhage from trauma, disorders of the eye, inner ear, and pituitary gland, and vascular problems, such as an aneurysm or thrombosis.1 Functional MRI (fMRI) is a specialized form of MRI that is used to measure the small changes in blood flow that occur with brain activity. fMRI can determine which parts of the brain handle critical functions such as thought, speech, movement, and sensation, evaluate the effects of stroke or other disease, guide brain treatment, and may detect abnormalities that cannot be visualized with other imaging techniques.2 While the FDA has only approved the use of fMRI for surgical planning, doctors may use fMRI to learn how a normal, diseased, or injured brain is working and research various conditions.2 For example, an fMRI may be ordered to perform brain mapping to assess functional anatomy, “help assess the effects of stroke, trauma, or degenerative disease (such as Alzheimer’s) on brain function,” “monitor the growth and function of brain tumors,” and “guide the planning of surgery, radiation therapy, or other invasive treatments of the brain.”2

Traditional or fixed MRI scanners are expensive and require a sizeable amount of space to house them, as well as appropriate shielding materials to protect patients and personnel from the high strength of the magnet. In an effort to make these scanners more accessible to all patients and facilities, portable MRI scanners have been created that are lower cost, smaller, and lower strength, eliminating the need for permanent housing and shielding. These scanners still function the same as traditional MRI. Initial portable MRI (pMRI) machine configurations addressed the cost and accessibility factor; however, the quality of the images produced was low. Recently, advancements have been made in the hardware and software, resulting in higher quality images that can be used for diagnostic purposes.3 Portable MRI first became a possibility for medical facilities and vehicles, such as ambulances; however, Guallart-Naval et al. took the research a step further and performed portable MRI exams in a physician’s office, outside a campus building connected to a nearby power outlet, in open air powered by a small fuel-based generator, and at the patient’s home. In this study, all images were “acquired within clinically viable times, and signal-to-noise ratios and tissue contrast suffice for 2D and 3D reconstructions with diagnostic value.”4 Results such as these point to the viability of pMRI, opening the doors for other use scenarios, such as bedside for neuroimaging.

Neuroimaging

Neuroimaging is a discipline within imaging sciences focused on the noninvasive representation of the structure and function of the central nervous system (CNS), primarily the brain, as well as diagnosing diseases and evaluating brain health. Using a variety of imaging technologies, neuroimaging can provide not only images and visual representation but also “quantitative analysis of the anatomy, blood flow, blood volume, electrical activity, metabolism, oxygen consumption, receptor sites, and many other physiological functions within the CNS.”5 Structural neuroimaging uses modalities such as CT and MRI to examine brain structure while functional neuroimaging uses modalities such as functional MRI (fMRI), positron emission tomography (PET), and functional ultrasound (fUS) to measure brain functions.5 Neuroradiology specializes in evaluation of the brain in the clinical setting and often provides more qualitative data focused on the “identification of brain lesions, such as vascular malformations, strokes, tumors, and inflammatory diseases.”5 Neuroimaging and neuroradiology are often confused because neuroimaging was initially the domain of radiologists who specialized in the central nervous system; however, the discipline has evolved to include contributors from “neuroscience, molecular biology, neurology, neurosurgery, psychology, psychiatry, physics, chemistry, radiology, and nuclear medicine.”5

Common Pathologies

According to the World Health Organization (WHO), hundreds of millions of people suffer from neurological conditions. Worldwide, more than 6 million people die from stroke each year, more than 50 million people have epilepsy, and an estimated 47.5 million people have dementia with 7.7 million new cases every year. There is also a migraine prevalence of more than 10% worldwide.6 In 2019, over 500,000 neurological condition-related deaths occurred in the Pan American region with the United States having the highest age-standardized death rates. The NIH National Institute of Neurological Disorders and Stroke lists over 260 neurological disorders in their database, many of which have numerous subcategories and related disorders. These can be placed in broad categories that may indicate the need for an MRI of the brain for diagnosis or follow up. Some of these categories include Alzheimer’s and other dementias, stroke, temporal lobe epilepsy, migraines and other headaches, infection, inflammation, tumor, multiple sclerosis (MS), Parkinson’s disease, dementia, post-trauma, metabolic disorders, congenital malformations, internal auditory canal pathology, vascular pathology, pituitary fossa pathology, and nerve palsies.,

Use of MRI for Neuropathologies

MRI is considered the gold standard imaging tool for the diagnosis and monitoring of many neurological pathologies, with fMRI being the gold standard for neuroimaging research and investigation.5,, In psychiatry, MRI neuroimaging is used to develop a better understanding of “brain circuit alterations that are associated with etiology, pathophysiology, and treatment response [of mental illness].”11 As previously mentioned, MRI is particularly useful for evaluating the structures of the head, such as the brain, blood vessels, skull and facial bones, inner ear structures, eyes and supporting tissues, cranial nerves, and surrounding soft tissues and skull-based structures and to diagnose and monitor neurological diseases.12, However, conventional MRI can only visualize macroscopic lesions and is less adept at demonstrating diffuse or subtle changes and underlying pathological conditions.12

The American College of Radiology (ACR) Appropriateness Criteria (AC)® are “evidence-based guidelines to assist referring physicians and other providers in making the most appropriate imaging or treatment decision for a specific clinical condition.” Tables 1 and 2 list the ACR AC for “Usually appropriate” and “May be appropriate” MR procedures for Cerebrovascular Disease and Head Trauma.14 Please note the primary imaging modality for most head trauma is CT with MRI being categorized as “may be appropriate” or “usually not appropriate.”

Table 1 - ACR Appropriateness Criteria for MR Imaging of Cerebrovascular Disease

| Scenario | Procedure | Appropriateness Category |
| --- | --- | --- |
| Carotid stenosis screening, asymptomatic, cervical bruit | MRA neck without IV contrast | Usually appropriate |
|  | MRA neck without and with IV contrast | Usually appropriate |
|  | MRI head perfusion with IV contrast | May be appropriate |
|  | MRI head without IV contrast | May be appropriate |
|  | MRI head without and with IV contrast | May be appropriate |
| Carotid stenosis screening, asymptomatic, risk factors for CVD | MRA neck without IV contrast | Usually appropriate |
|  | MRA neck without and with IV contrast | Usually appropriate |
|  | MRI head perfusion with IV contrast | May be appropriate |
|  | MRI head without IV contrast | May be appropriate |
|  | MRI head without and with IV contrast | May be appropriate |
| Dural venous sinus thrombosis suspected | MRI head without IV contrast | Usually appropriate |
|  | MRI head without and with IV contrast | Usually appropriate |
|  | MRV head and neck without and with IV contrast | Usually appropriate |
|  | MRV head without IV contrast | Usually appropriate |
|  | MRV head without and with IV contrast | Usually appropriate |
|  | MRV head and neck without IV contrast | May be appropriate |
| Focal neuro deficit, new, fixed or worsening, <6 hours, stroke suspected | MRA head and neck without IV contrast | Usually appropriate |
|  | MRA head and neck without and with IV contrast | Usually appropriate |
|  | MRI head without IV contrast | Usually appropriate |
|  | MRI head without and with IV contrast | Usually appropriate |
|  | MRI head perfusion with IV contrast | May be appropriate |
| Focal neuro deficit, new, fixed or worsening, >6 hours, stroke suspected | MRA head and neck without IV contrast | Usually appropriate |
|  | MRA head and neck without and with IV contrast | Usually appropriate |
|  | MRI head without IV contrast | Usually appropriate |
|  | MRI head without and with IV contrast | Usually appropriate |
|  | MRI head perfusion with IV contrast | May be appropriate |
| Parenchymal hemorrhage proven | MRA head without IV contrast | Usually appropriate |
|  | MRA head without and with IV contrast | Usually appropriate |
|  | MRI head without IV contrast | Usually appropriate |
|  | MRI head without and with IV contrast | Usually appropriate |
|  | MRV head without IV contrast | Usually appropriate |
|  | MRV head without and with IV contrast | Usually appropriate |
|  | MRA head and neck without IV contrast | May be appropriate |
|  | MRA head and neck without and with IV contrast | May be appropriate |
| TIA, initial screening | MRA head and neck without IV contrast | Usually appropriate |
|  | MRA head and neck without and with IV contrast | Usually appropriate |
|  | MRI head without IV contrast | Usually appropriate |
|  | MRI head without and with IV contrast | Usually appropriate |
|  | MRI head perfusion with IV contrast | May be appropriate |

Table 2 - ACR Appropriateness Criteria for MR Imaging of Head Trauma

| Scenario | Procedure | Appropriateness Category |
| --- | --- | --- |
| Head trauma, CSF leak suspected, initial imaging | MRI head without IV contrast | May be appropriate |
| Head trauma, acute, neuro decline since last imaging, short term follow up imaging | MRI head without IV contrast | May be appropriate |
| Head trauma, acute, no neuro decline, initial imaging normal, short term follow up imaging | MRI head without IV contrast | May be appropriate |
| Head trauma, acute, no neuro decline, positive findings on initial imaging, short term follow up imaging | MRI head without IV contrast | May be appropriate |
| Head trauma, chronic, unexplained cognitive or neuro deficit, initial imaging | MRI head without IV contrast | Usually appropriate |
| Head trauma, intracranial arterial injury suspected, positive findings on prior imaging | MRA head and neck with IV contrast | May be appropriate |
|  | MRA head and neck without IV contrast | May be appropriate |
|  | MRA head and neck without and with IV contrast | May be appropriate |
| Head trauma, intracranial arterial injury suspected, risk factors | MRA head and neck with IV contrast | May be appropriate |
|  | MRA head and neck without IV contrast | May be appropriate |
|  | MRA head and neck without and with IV contrast | May be appropriate |
| Head trauma, intracranial venous injury suspected, positive findings on prior imaging | MRI head without IV contrast | May be appropriate |
|  | MRV head with IV contrast | May be appropriate |
|  | MRV head without IV contrast | May be appropriate |
|  | MRV head without and with IV contrast | May be appropriate |
| Head trauma, intracranial venous injury suspected, risk factors | MRI head without IV contrast | May be appropriate |
|  | MRV head with IV contrast | May be appropriate |
|  | MRV head without IV contrast | May be appropriate |
|  | MRV head without and with IV contrast | May be appropriate |
| Head trauma, subacute, unexplained cognitive or neuro deficit, initial imaging | MRI head without IV contrast | Usually appropriate |

Barriers of Fixed MRI

The primary barrier to using conventional, or fixed MRI is that it is contraindicated for many patients. Table 3 demonstrates absolute and relative contraindications for MRI.1,2,9 It is important to keep in mind that some newer devices listed as absolute contraindications may now be MRI-safe; however, it is important to properly screen all patients and not scan if the type is unknown.9

Table 3 - MRI Contraindications

| Absolute Contraindications | Relative Contraindications | Other Conditions |
| --- | --- | --- |
| Pacemaker, defibrillator, or wires other than sternal wires | AAA stent | Obese patients |
| Metallic foreign body in the eye | Stapes implant | Claustrophobic patients |
| Deep brain stimulator | Drug infusion device | Significant pain that may limit a patient’s ability to lie still |
| Swan-Ganz catheter | Neuro or bone growth stimulator | Surgery in the previous 6 weeks |
| Bullets or gunshot pellets | Surgical clips, wire sutures, screws, or mesh | Pediatric patients – sedation may be needed under the age of 6 |
| Cerebral aneurysm clips | Ocular, penile, or limb prosthesis | Pregnancy – while not a contraindication, it may need to be discussed depending on the trimester |
| Cochlear implant | Joint replacement | Poor renal function – if contrast is being used |
| Magnetic dental implants | Other implants, in particular mechanical devices | Allergy to gadolinium – if contrast is being used |

Conventional or fixed MRI machines can also be inconvenient and inaccessible for providers and patients, primarily those patients in ICU or critical care situations. Some patients, especially those with neurological conditions, may not be eligible for transport to the imaging department. There also may not be enough personnel to move and monitor critical patients, available MRI-safe ventilators and equipment, or time to transport the patient., Another barrier to fixed MRI is availability outside large medical facilities. Small, rural hospitals, rehab, outpatient, and long-term care facilities, and developing countries often do not have access to scanners.14

Bedside pMRI

Many imaging modalities, such as diagnostic radiography and ultrasound, and more recently, even CT, have been performed bedside for many years. CT can be beneficial for ICU patients needing neuroimaging; however, research has shown that MRI has better sensitivity in this capacity. Therefore, the use of portable MRI presents an opportunity for providers to obtain crucial information at the bedside.16 The Hyperfine Swoop® portable MR imaging system is the first and only, at the time of this publication, portable MR machine to obtain FDA clearance and is used for brain imaging.15

Logistics

Since the Hyperfine Swoop® portable MR system is currently the only FDA cleared device, the logistics of pMRI will be discussed regarding this machine as it is the primary scanner featured in most current research studies. The Swoop® machine is designed to be driven to the patient’s bedside, fits in elevators and through doorways, plugs into a standard electrical outlet, and is controlled using an Apple iPad®.15, The machine is ready to scan in less than three minutes and is ideal for neuroimaging in ICU and pediatric facilities as well as emergency departments, COVID units, and ambulatory outpatient settings without having to remove ferromagnetic equipment.15,17 Imaging sequences include T1, T2, fluid attenuated inversion recovery (FLAIR), and diffusion weighted imaging (DWI) with accompanying apparent diffusion coefficient (ADC) map.17 Because this scanner is open and low-field, patients experience decreased anxiety since there is less risk of claustrophobia and loved ones can remain at the bedside.17

Turpin et al. cited a few necessary adjustments that had to be made in the ICU room to accommodate the Swoop® machine in their study. These included turning the patient’s bed laterally or 90 degrees relative to the position of the ventilator to eliminate disruption of ventilation, increasing oxygenation in some patients to reduce the risk of desaturation during the exam, removing unnecessary equipment, and titration of sedation or paralytics as needed before positioning the patient.16 Also in this study, the researchers noted that the Swoop® machine was used successfully in seven ICUs on six floors of the hospital, each with a unique floor plan, and there were no cases of inaccessibility.16 Studies by Mazurek et al., Sheth et al., and Prabhat et al. also saw success using the Swoop® machine at the bedside in ICUs and emergency departments with little to no limitations.,, Mazurek et al. and Prabhat et al. noted difficulties with the optimal positioning of some obese patients. These hindering factors included weight, head and nose size, shoulder width, neck length, and chest height. However, some were overcome by placing the patient in a Trendelenburg position, pulling the arms down and together, or using the ceiling lift if available.18,20

Use for Neuroimaging

Portable MRI has shown promise in the field of neuroimaging for a number of conditions. There are many use cases for pMRI; however, some of the primary applications listed by Hyperfine include acute mental status change in an ICU setting, post-op hematoma, acute intraparenchymal hematoma, extra-axial hematoma, hydrocephalus de novo, hydrocephalus follow-up, midline shift, mass lesion, large vessel occlusion (LVO) stroke, stroke follow-up, acute small lacunar type infarct (<5mm), chronic small lacunar type infarct, and subarachnoid hemorrhage.15 Turpin et al. imaged patients with COVID-19 who were admitted to the ICU and presented with unexplained encephalopathy or coma, seizures, focal neurologic deficit, abnormal head CT, or elevated inflammatory markers in the blood or CSF.16 Other studies assessed intracerebral hemorrhage and midline shift.18,19

Conclusion

Neurological conditions are one of the primary causes of mortality and disability worldwide. The gold standard for assessing these conditions is magnetic resonance imaging (MRI). However, fixed MRI is not accessible to all patients. Many patients have conditions that contraindicate having an MRI exam, while others simply do not have access to a scanner because of where they live. Portable MRI is a viable solution for bringing MR imaging to critical patients that might otherwise be unable to undergo such an exam. The current FDA cleared pMRI scanner on the market can be maneuvered easily through the hospital and brought to the patient’s bedside in a variety of settings to obtain swift, quality images of the brain to assist physicians in diagnosing and treating neurological conditions without transporting the patient, removing life-preserving equipment, or forcing patient loved ones to leave the room.

RadiologyInfo.org for Patients. Head MRI. Reviewed May 1, 2023. Accessed September 13, 2023. https://www.radiologyinfo.org/en/info/headmr

RadiologyInfo.org for Patients. Functional MRI (fMRI). Reviewed December 6, 2022. Accessed September 13, 2023. https://www.radiologyinfo.org/en/info/fmribrain

Wald LL, McDaniel PC, Witzel T, Stockmann JP, Cooley CZ. Low-cost and portable MRI. J Magn Reson Imaging. 2020;52(3):686-696. https://doi.org/10.1002/jmri.26942

Guallart-Naval T, Algarin JM, Pellicer-Guridi R, et al. Portable magnetic resonance imaging of patients indoors, outdoors and at home. Sci Rep. 2022;12:13147. https://doi.org/10.1038/s41598-022-17472-w

Das M. Neuroimaging techniques and what a brain image can tell us. Technology Networks. July 7, 2022. Neuroscience News and Research. Accessed September 13, 2023. https://www.technologynetworks.com/neuroscience/articles/neuroimaging-techniques-and-what-a-brain-image-can-tell-us-363422

World Health Organization. Mental health: Neurological disorders. May 3, 2016. Accessed September 19, 2023. https://www.who.int/news-room/questions-and-answers/item/mental-health-neurological-disorders

Pan American Health Organization. The burden of neurological conditions in the region of the Americas, 2000-2019. Published 2021. Accessed September 19, 2023. https://www.paho.org/en/enlace/burden-neurological-conditions

National Institute of Neurological Disorders and Stroke. All disorders. National Institutes of Health. n.d. Accessed September 13, 2023. https://www.ninds.nih.gov/health-information/disorders

McIntyre R, Goergen S. Magnetic Resonance Imaging (MRI). Inside Radiology. Updated August 18, 2017. Accessed September 13, 2023. https://www.insideradiology.com.au/mri-hp/

ABC Medical Center. Most common neurological disorders. July 15, 2020. Accessed September 13, 2023. https://centromedicoabc.com/en/digital-magazine/most-common-neurological-disorders/

Kalin NH. Understanding the value and limitations of MRI neuroimaging in psychiatry. Am J Psychiatry. 2021;178(8):673-676. https://doi.org/10.1176/appi.ajp.2021.21060616

Seiler A, Nöth U, Hok P, et al. Multiparametric quantitative MRI in neurological diseases. Front Neurol. 2021;12:640239. https://doi.org/10.3389%2Ffneur.2021.640239

Cleveland Clinic. Brain MRI. Last reviewed May 9, 2022. Accessed September 19, 2023. https://my.clevelandclinic.org/health/diagnostics/22966-brain-mri

American College of Radiology. ACR appropriateness criteria. Clinical Resources. Accessed September 13, 2023. https://www.acr.org/Clinical-Resources/ACR-Appropriateness-Criteria

Arlinghaus L., Knopp EA. Clinical use cases for the Hyperfine Swoop portable MR imaging system. White Paper. 2021. Accessed September 13, 2023. https://20597499.fs1.hubspotusercontent-na1.net/hubfs/20597499/Brochures%20and%20White%20Papers/Swoop%20Clinical%20Use%20Case%20White%20Paper.pdf

Turpin J, Unadkat P, Thomas J, et al. Portable magnetic resonance imaging for ICU patients. Crit Care Expl. 2020;2(12):e0306. https://doi.org/10.1097/cce.0000000000000306

Hyperfine. Swoop® portable MR imaging system™: Fast, simple, and cost-effective MR imaging for your patients. n.d. Accessed September 13, 2023. https://hyperfine.io/products/overview

Mazurek MH, Cahn BA, Yuen MM, et al. Portable, bedside, low-field magnetic resonance imaging for evaluation of intracerebral hemorrhage. Nat Commun. 2021;12:5119. https://doi.org/10.1038/s41467-021-25441-6

Sheth KN, Yuen MM, Mazurek MH, et al. Bedside detection of intracranial midline shift using portable magnetic resonance imaging. Sci Rep. 2022;12(1):67. https://doi.org/10.1038/s41598-021-03892-7

Prabhat AM, Crawford AL, Mazurek MH, et al. Methodology for low-field, portable magnetic resonance neuroimaging at the bedside. Front Neurol. 2021; 12:760321. https://doi.org/10.3389/fneur.2021.760321