Dual X-Ray Absorptiometry (DXA) In Osteoporosis Screening, Diagnosis, and Monitoring

Learning Objectives:

At the conclusion of this activity, readers should be able to:

- Describe the prevalence and clinical impact of osteoporosis in the United States

- Discuss the role of DXA in the assessment of BMD

- Summarize the appropriateness of DXA in several clinical scenarios

- List steps to improve DXA image acquisition in the evaluation of osteoporosis, as well as potential artifacts and contraindications

Outline:

Osteoporosis: A common but silent disorder

Bone strength, bone mineral density, and bone quality

Clinical Consequences of Osteoporosis

Guideline Recommendations for Screening and Diagnosis of Osteoporosis

Role of DXA in Determining BMD

Peripheral Versus Central DXA

Vertebral Fracture Assessment

FRAX® Score

Monitoring Response to Treatment

Appropriateness of DXA in Specific Clinical Scenarios

Improving Image Acquisition

Lumbar spine

Proximal femur

Forearm

Potential Artifacts

Patient Preparation

Contraindications for DXA

Summary and Conclusions

Osteoporosis: A common but silent disorder

Osteoporosis is a chronic skeletal disorder that is characterized by reduced bone mineral content, loss of bone density, microscopic structural changes that decrease bone strength, and increased risk of fracture. Often referred to as a “silent disease,” osteoporosis is the most common metabolic bone disorder in the United States (US), yet it often goes undiagnosed until a fracture occurs., It is estimated that approximately 10 million Americans have osteoporosis, and another 44 million have low bone density that puts them at risk for developing osteoporosis in the future. In addition, approximately 50% of women and 20% of men over the age of 50 will experience an osteoporosis-related fracture. However, despite the high prevalence of osteoporosis and osteoporotic fractures, only about 20% of people over the age of 50 are tested or treated for osteoporosis in the US.3

Radiographers are responsible for several critical tasks in their interactions with patients with osteoporosis, including clinical history taking, advice and guidance for patients or colleagues, fracture risk assessment and reporting, performing examinations at a variety of skeletal sites, staff training and education, and research. This activity provides an overview of dual x-ray absorptiometry (DXA) in osteoporosis management for radiologic technologists. The activity reviews the impact of osteoporosis, indications for screening and diagnosis of at-risk individuals, the role of DXA in osteoporosis diagnosis and management, and recommendations for bone mineral density (BMD) assessment and the appropriateness of various DXA techniques across a range of clinical scenarios. It also reviews some practical tips and recommendations for patient management. This activity focuses primarily on osteoporosis in older adults, who make up the large majority of osteoporosis cases seen in clinical practice. However, it should be noted that osteoporosis can occur in younger adults or even children, although the diagnosis and management of osteoporosis in younger patients present several unique challenges and barriers to optimal care that are beyond the scope of this activity.

Bone strength, bone mineral density, and bone quality

The maintenance of the skeleton is an active process that takes place throughout the lifespan, involving a balance between formation of new bone tissue and removal (resorption) of existing bone. In people with osteoporosis, this balance has become shifted toward excessive bone resorption, which results in loss of bone mass and increased bone fragility. Bone formation typically peaks in young adulthood, and declining bone mass occurs as part of the aging process. Bone loss also occurs in response to alterations in hormone levels (eg, following menopause), from certain medications (eg, corticosteroids), or secondary to other medical conditions (eg, resulting from prolonged immobilization). Bone loss is also affected by several modifiable risk factors, including physical inactivity, smoking, excessive alcohol consumption, and low calcium and/or vitamin D intake.9

Bone strength is influenced primarily by two factors: bone mineral density (BMD) and bone quality.9

- Although density is a physical property that is usually defined as mass per unit of volume, BMD is obtained from 2-dimensional (planar) images that do not include a depth component. Therefore, BMD is defined as the bone mass per area of the image of the bone projected in 2 dimensions (g/cm2), rather than by true volume (g/cm3). This is referred to as the areal density of bone.,

- Bone quality is influenced by a variety of factors that may include microscopic bone structure, accumulated microscopic damage, mineral crystal size, collagen structure, and the rate of bone loss and formation over time. Bone quality cannot be directly observed in the clinical setting, although it may be evaluated using specialized tests. For example, bone turnover markers are used to assess biochemical changes associated with bone deposition and resorption. Although these tests are not required for the routine diagnosis of osteoporosis, they provide additional information about bone quality that can be used to guide decisions about whether additional imaging is needed or about when to start or continue pharmacologic therapy for osteoporosis.

As noted above, BMD can be described in absolute terms using an areal value, which represents the grams of bone mineral per square centimeter scanned on a 2-dimensional projection (g/cm2). In the clinical setting, BMD is more often described relative to the average BMD value for a reference population. Two BMD reference norms are used in osteoporosis diagnosis and monitoring:

- Relative to a young-adult reference population (used to calculate a T score)

- Relative to a reference population matched for the patient’s age, sex, and ethnicity (used to calculate a Z score)

A T score or Z score is defined as the difference between the patient’s areal BMD value and the mean BMD value for the appropriate reference population, divided by the standard deviation of the reference population. For example, a T score of -2.5 indicates that the patient’s areal BMD value is 2.5 standard deviations below the mean value of the young-adult reference population, while a Z score of -2.5 indicates that the patient’s BMD falls 2.5 standard deviations below the mean of a reference population matched to the patient’s age, sex, and race/ethnicity.13 T score is usually used to report BMD values in postmenopausal women and men over the age of 50, whereas Z score is usually used for younger patients (and especially for children).9

According to widely used diagnostic criteria developed by the World Health Organization (WHO), osteoporosis is defined clinically as a BMD that is at least 2.5 standard deviations below the mean BMD value of a young adult reference population (ie, a T score  ≤ -2.5).

Clinical Consequences of Osteoporosis

Osteoporosis is a risk factor for bone fractures, and the risk of fracture is greatest for individuals who have extremely low BMD values.13 Osteoporotic fractures are often referred to as fragility fractures because they can be caused by low-energy trauma (equal to or less than a fall from standing height). Osteoporosis management guidelines note that most bone fractures in older adults are at least partly due to low bone mass, even when they are the result of considerable trauma. Fractures of the vertebrae (especially the lumbar spine) are the most common type of osteoporotic fractures, and they may be clinical or subclinical. Other common sites of fractures in people with osteoporosis include the proximal femur (hip) and distal forearm (wrist).13 Osteoporosis can also be related to fractures at a number of other sites, such as the humerus, ribs, tibia (typically, excluding the ankle), pelvis and other femoral fractures.15

Osteoporotic fractures are associated with a number of adverse health outcomes, including pain, decreased functional ability, reduced quality of life, and increased risk of mortality. Vertebral fractures can cause pain, disability, postural changes, and limited mobility. In addition, thoracic vertebral fractures can impair pulmonary function, while lumbar fractures may be associated with abdominal pain or changes in abdominal function, including constipation and weight loss.13  Hip fractures are associated with a high likelihood of long-term functional impairment, hospitalization, and mortality. It has been estimated that only about 40% of people with hip fracture regain the level of function and independence they had before their fracture, and that about 20% require long-term nursing home care. In addition, hip fracture is associated with about a doubling in the risk of mortality over the next year.

In addition, because weight-bearing physical activity is an important part of maintaining bone health and preserving bone mass, the pain and activity restriction caused by osteoporotic fractures often produce a “vicious circle” of decreased physical activity, declining bone health, and risk of further fractures and disability. Fractures in an individual over the age of 50 years are associated with increased risk of new fractures, especially during the following year.13 Vertebral fractures are associated with a 5-fold risk of additional vertebral fractures and a 2-fold to 3-fold risk of fractures at other sites. Hip fractures are also associated with as much as a 2-5 fold increased risk of additional fractures at other sites.13

Despite the widespread and significant health consequences of osteoporosis, the Bone Health and Osteoporosis Foundation (BHOF) – formerly, the National Osteoporosis Foundation (NOF) – has emphasized that access to care for people with osteoporosis in the US has decreased in recent years. This includes a reduction in the availability of office-based DXA facilities and a decrease in the number of DXA studies being performed.13 Declining osteoporosis screening has been accompanied by a decrease in the number of people being diagnosed with osteoporosis, fewer patients entering treatment, and an increase in the number of fractures for the US population, many of which are potentially avoidable with adequate care.13

Guideline Recommendations for Screening and Diagnosis of Osteoporosis

The BHOF has developed extensive evidence-based recommendations that describe which patients should be assessed for osteoporosis.13 These recommendations are available online:

https://www.bonehealthandosteoporosis.org/news/bone-health-and-osteoporosis-foundations-updated-clinicians-guide-to-prevention-and-treatment-of-osteoporosis-is-now-available/

In general, BHOF guidelines recommend DXA-based BMD testing for the following patient groups:

- Women aged ≥ 65 years and men aged ≥ 70 years regardless of clinical risk factors.

- Postmenopausal women and men aged 50–69 years, based on risk profile.

- Postmenopausal women and men aged ≥ 50 years with history of adult-age fracture.

- DXA facilities are available that employ accepted quality assurance measures

Testing may also be reasonable for people outside these groups based on clinical assessment of fracture risk. Guidelines note that BMD testing should be performed at the same facility and on the same densitometry device for each test whenever possible.

These guidelines note that any bone broken in adulthood should be considered as suggestive of an osteoporosis diagnosis, regardless of cause; and a recent fracture at a major skeletal site in any person over the age of 50 should be considered a potential sign of osteoporosis that requires urgent assessment. However, guidelines note that fractures of the fingers, toes, face, and skull are not usually considered osteoporotic fractures since these fractures are often caused directly by trauma and are not related specifically to bone fragility.13 Guidelines also note that skeletal health should be evaluated before elective orthopedic procedures, with BMD included in the evaluation as needed based on the patient’s individual risk profile (eg, inflammatory arthritis, osteoarthritis, chronic kidney disease, adverse events from surgery, or other risk factors. The diagnostic process should rule out any secondary causes of bone loss, osteoporosis, or fractures, such as medical conditions or medications that can influence bone health. Testing for biochemical markers of bone turnover can help to identify the rate of bone loss in selected patients.13

It is important to note that for someone with a diagnosis of osteoporosis based on adulthood fracture or T score (-2.5 or below), the diagnosis of osteoporosis is maintained even if subsequent DXA testing provides a T score reading above -2.5 (for example, after beginning treatment).13

Role of DXA in Determining BMD

The use of DXA for assessment of BMD is based on differing absorption of x-ray photons between bone and soft tissues. An x-ray source produces alternating high-energy (140 kVp) and low-energy (70-100 kVp) pulses, which allow bone to be measured separately from soft tissue.9  Guidelines from the BHOF, the American College of Radiology (ACR), the International Society of Clinical Densitometry (ISCD), and other organizations have established DXA measurement of hip and lumbar spine as the preferred method for screening and/or confirming a diagnosis of osteoporosis, predicting future fracture risk, and monitoring patients over time.13,,  DXA is preferred due to it high degree of reproducibility and accuracy, ease of acquisition, and relatively low radiation dose.9 According to diagnostic criteria developed by the World Health Organization (WHO), DXA-derived BMD values for postmenopausal women and for men over the age of 50 are classified into 3 levels:14

- Normal: BMD is within 1.0 standard deviations of the mean for a young-adult reference population (T score -1.0 and above)

- Low bone mass (osteopenia): BMD is between 1.0 and 2.5 standard deviations below the mean young adult reference population (T score between -1.0 and -2.5)

- Osteoporosis: BMD is 2.5 standard deviations or more below the mean of the young adult reference population (T score at or below -2.5)

These criteria are usually applied to central DXA measurements at the lumbar spine and femoral neck, using the lowest BMD value obtained from the lumbar spine, femoral neck of the hip, or proximal femur of the hip to diagnose osteoporosis. The distal 1/3 radius may be used in some circumstances, such as when spine/hip scans are not usable, the patient may have low forearm BMD, or as otherwise dictated by clinical judgment.13

In addition to BMD, WHO criteria note that new fractures of the hip, spine, and/or forearm in adults are consistent with a diagnosis of osteoporosis, unless excluded by additional clinical evaluation and imaging.14

Peripheral Versus Central DXA

Peripheral DXA devices are available for use in the office setting, and are capable of determining BMD values for sites such as the wrist, heel, or fingers.20 However, guidelines for screening and diagnosis of osteoporosis recommend the use of central DXA scanners.13,18, 19 These larger devices use a flat table that allows scanning of central skeletal sites such as the spine and hip, as well as determination of whole-body BMD.20

Vertebral Fracture Assessment

A major goal of testing for osteoporosis is to identify vertebral fractures, whether clinical or subclinical. Osteoporosis guidelines note that a vertebral fracture in an adult aged 50 or older is diagnostic for osteoporosis even in the absence of a bone density scan. Most vertebral fractures are subclinical, and they may be completely asymptomatic. However, even these subclinical vertebral fractures are associated with a high risk of subsequent fractures and other complications. DXA-assisted vertebral fracture detection has emerged in recent years as an alternative to lateral thoracic/lumbar spine radiography for detection of vertebral fractures due to factors such as convenience, low cost, and minimal radiation exposure.13 To detect potential subclinical vertebral fractures, BHOF guidelines recommend vertebral imaging (X-ray or DXA) for the following:13

- Women aged 65 years and older if T-score is less than or equal to −1.0 at the femoral neck

- Women aged 70 years or older and men aged 80 years or older if T-score is less than or equal to −1.0 at the lumbar spine, total hip, or femoral neck

- Men aged 70–79 years if T-score is less than or equal to −1.5 at the lumbar spine, total hip, or femoral neck

- Postmenopausal women and men aged ≥ 50 years with the following specific risk factors:

  - Fracture(s) during adulthood (any cause)

  - Historical height loss of ≥1.5 in. (defined as the difference between the current height and peak height)

  - Prospective height loss of ≥ 0.8 in. (defined as the difference between the current height and last documented height measurement)

  - Recent or ongoing long-term glucocorticoid treatment

  - Diagnosis of hyperparathyroidism

FRAX® Score

A DXA examination for osteoporosis may also include the Fracture Risk Assessment Tool (FRAX®). FRAX® uses BMD plus several other fracture risk factors (including age, sex, alcohol intake, body mass index, glucocorticoid intake, and smoking status) to calculate an individualized 10-year risk of fracture. According to WHO criteria, an alternative definition of osteoporosis is the presence of low bone mass (defined as a T score between -1.0 and -2.5 at the femoral neck or total hip by DXA) accompanied by a FRAX-projected 10-year risk of at least 3% for hip fracture and/or 20% for major osteoporosis-related fracture (ie, clinical vertebral, hip, forearm, or proximal humerus).13,14

Monitoring Response to Treatment

Osteoporosis management is complex and highly individualized based on the patient’s specific BMD value, fracture risk factors, and other clinical considerations. A complete discussion of osteoporosis treatment is beyond the scope of this article. However, it should be noted that a number of oral or injectable pharmacotherapy options have been shown to preserve or increase bone mass in people with osteoporosis. One large analysis of 38 individual placebo-controlled clinical trials, which together enrolled more than 100,000 people with osteoporosis, found that people who had increased BMD values at the total hip and lumbar spine with osteoporosis medication had reduced fracture risk, and that larger improvements in BMD were associated with greater reductions in fracture risk.

Regardless of the patient’s specific treatment approach, ongoing monitoring of BMD at specified intervals is essential to ensure that patients are responding to therapy. In addition, patients who have been on osteoporosis treatment for several years may undergo BMD assessment to determine whether they are eligible for a temporary “drug holiday” or a permanent discontinuation of treatment. According to guidelines for osteoporosis diagnosis and management, central DXA assessment of the total hip, femoral neck, or lumbar spine is considered the “gold standard” for ongoing assessment of BMD changes over time.13  BHOF guidelines recommend a standardized approach to long-term monitoring and assessment of treatment response.13 These guidelines recommend BMD testing 1 to 2 years after initiating or changing medical therapy for osteoporosis, as well as testing at other time points as needed according to the patient’s clinical circumstances. More frequent testing may be required for patients at higher risk of fracture, including those with multiple fractures, older patients, or those with very low BMD. Conversely, less frequent testing maybe needed for some patients with initial T scores in the normal or slightly below normal range (osteopenia) or for patients who have remained fracture-free on treatment.13

For patients who are receiving pharmacologic treatment for osteoporosis, guidelines recommend routinely reassessing patients for fracture risk, as well as patient satisfaction with treatment, treatment adherence, and need for modification to the treatment regimen.13 Changes in BMD should be measured serially at the lumbar spine, total, and femoral neck. If the lumbar spine, hip, or both are not available, the treating physician may elect to evaluate the distal 1/3 radius instead. Patients may be considered for a “drug holiday” after 5 years of oral therapy or 3 years of IV bisphosphonate therapy for those who are no longer at high risk of fracture, defined as a T score ≥ -2.5 and no new fractures since beginning treatment.13

Appropriateness of DXA in Specific Clinical Scenarios

Clinical guidelines developed by the ACR describe the appropriateness of various DXA approaches (including DXA of the lumbar spine, hip, forearm, and DXA VFA) in several clinical scenarios.18 These recommendations are summarized in Table 1.

Table 1. Appropriateness of DXA in several clinical scenarios.18

|  | DXA Lumbar spine/hip(s) | DXA Distal Forearm | DXA-VFA |
| --- | --- | --- | --- |
| Osteoporosis screening or initial imaging of clinically suspected low BMD. | Usually appropriate | May be appropriate | NR |
| Follow-up imaging of patients demonstrated to have risk for fracture or surveillance of established low BMD | Usually appropriate | May be appropriate | Usually not appropriate |
| Follow-up imaging of patients with T-scores less than −1.0 (by DXA) and one or more risk factors* | Usually appropriate | May be appropriate | Usually appropriate |
| Initial imaging for premenopausal females or males less than 50 years of age. Individual with risk factors that could alter bone mineral density. | Usually approropriate | May be appropriate | NR |
| Imaging follow-up to low BMD of patients with risk factors including premenopausal females or males less than 50 years of age with risk factors | Usually appropriate | May be appropriate | NR |
| initial imaging of clinically suspected osteoporosis in patients with advanced degenerative changes of the spine with or without scoliosis, or other conditions that may spuriously elevate BMD. | Usually appropriate | Usually appropriate | NR |

NR: Not rated.

*Risk factors: 1) Females equal to or greater than 70 years of age or males equal to or greater than 80 years of age; 2) Historical height loss greater than 4 cm (greater than 1.5 inches); 3) Self-reported but undocumented prior VF; 4) Glucocorticoid therapy equivalent to equal to or greater than 5 mg of prednisone or equivalent per day for equal to or greater than 3 months.

As shown in the Table, DXA of the lumbar spine and hip are considered “usually appropriate” for all the clinical scenarios reviewed.18 DXA of the distal forearm may be used when lumbar spine and or hip imaging is not available. In addition, DXA of the distal forearm is considered “usually appropriate” for people who have advanced degenerative changes of the spine (eg, scoliosis or other conditions that may cause spurious elevations of BMD readings). Forearm DXA is also recommended for people with hyperparathyroidism.

VFA is usually not considered appropriate for screening or evaluation of low bone density. An exception is for follow-up imaging for people with T scores less than -1.0 and other high-risk features, where VFA was considered “usually appropriate.”

It should be noted that a fragility fracture takes precedence over the patient’s T score/BMD assessment in classifying someone is having osteoporosis. That is, someone with a BMD in the “osteopenia” range, but who has a fragility fracture, would be considered, as having osteoporosis rather than osteopenia.13

The ACR appropriateness criteria noted that DXA has a central role in osteoporosis screening and initial diagnosis. In addition, DXA is also important for monitoring people with low BMD. Ongoing monitoring may also be indicated for some people with BMD values in the normal range, including people who may have clinical risk factors for fracture or who have declining but still normal BMD.18 The ACR considers BMD of the hip as the best approach for estimating fracture risk, with imaging of the spine considered best for monitoring treatment response. For follow up evaluations is essential that BMD measurements on the same DXA machine and every visit.18 Differences in technology used by different device vendors make it impossible to meaningly compare changes overtime unless the devices have been cross-calibrated. Is essential to obtain quality images at each visit because it is BMD readings that are compared from one visit to the next, not T scores or Z scores.

#### Improving Image Acquisition

To facilitate tracking of BMD changes over time, serial scans should be performed on the same densitometry device at the same facility.13 The technologist should carefully compare the image data to ensure that the newly acquired image is positioned in exactly the same way as the previous scan.9 The planar image should be reviewed for proper placement, absence of patient motion, and for artifacts related to metal, overlying hardware, barium, or other factors.9

Lumbar spine

The patient is typically in a supine position on the DXA table with the lumbar spine centered on the midline of the table. A properly positioned lumbar spine should show the middle of T12 (identifiable by the presence of the ribs) to the middle of L5. The spine must be centered, straight, and not rotated. The pelvic crests are visible just above the bottom of the scan.20 Although device manufacturers provide information about patient positioning for specific machines, certain positioning modifications may help to improve the usefulness of the scan in some cases. For example, lumbar lordosis may be reduced by elevating the legs with a block cushion under the knees.20

The region of interest (ROI) of the lumbar spine for BMD measurement includes L1 to L4.20 An average T score is calculated using all the vertebrae, unless contraindicated because of lumbar spine artifacts or anatomic variations. Vertebrae that are obviously abnormal or with a T score with more than 1.0 difference from surrounding vertebrae should be excluded. If 1 or 2 of the vertebrae cannot be used, BMD should be based on the remaining vertebrae. If only 1 vertebra is valid, a site other than the spine should be selected for BMD measurement.20

As the scan is acquired, the technologist should monitor the emerging planar image to ensure that the spine is centered and straight, with a small part of the iliac crest visible at the bottom of the screen. If the patient is not positioned properly, the technologist should stop the acquisition, reposition the position, and restart the aquistion.9 Although most DXA scanners use automated ROI placement, the technologist must manually adjust the ROI to ensure that the correct region is captured and that there is adequate soft tissue on either side of the spine. A line drawn from the highest point of one iliac crest to the other will usually traverse the L4-L5 interverbal disk space, which provides a landmark for box placement.9

An example of lumbar spine placement and the resulting bone density graph is shown in Figure 1.

Figure 1. Normal positioning and bone density graph for lumbar spine DXA. Left: Initial DXA

of a 72-year-old woman. In the posteroanterior view of the lumbar spine the lines through the disc spaces and the lines outlining the lateral margins of the vertebra demarcate the ROI. This patient has ﬁve lumbar vertebrae. Right:  The bone density graph for the same patient. This graph shows the bone densities of the reference population with which the patient is being compared (central light green region). The bone densities for normal, osteopenia, and osteoporosis are superimposed on the graph. The location of the patient’s vertebral bone density is shown on the graph (square dot in the box).23

Proximal femur

The proximal femur includes the head, neck, shaft, and the greater and lesser trochanters.20  The patient should lie supine in the midline of the table, and positioned so that the femoral neck of the hip to be scanned is parallel to the surface of the scan table. This positioning can be obtained by rotating the leg internally by approximately 15 to 20 degrees. The femur should be positioned parallel to the patient’s craniocaudal axis, and rotated to minimize visualization of the lesser trochanter.9 Use of the DXA scanner’s positioning devices on every scan can help ensure correct positioning and make it easier to compare results across scans.[Berry 2018] The ROI in the proximal femur may vary according the device manufacturer, but usually includes the femoral neck, trochanter, shaft or inter region, and total hip. Ward’s area, a calculated region of low BMD in the femoral head, is often included in the BMD values reported by the DXA device, but is not used clinically.9

An example of incorrect and correct hip ROI placement is shown in Figure 2.

Forearm

For forearm imaging, the patient is seated next to the table with the nondominant forearm, wrist, and hand lad flat, palm side down. The forearm is secured to a positioning board with a strap.9 The ulnar and radial shafts of the forearm are aligned with the long axis of the table, with the carpal bones in the top one third of the image. The ROI for the forearm is manually positioned, with the goal of including the distal 1/3 radius (radius 33%), which is a 20-mm length of the radial shaft located one third of the distance between the ulnar styloid and the olecranon.9

Attention to several practical issues can increase the likelihood of a successful DXA scan:

- The technologist should ensure that any automatic segmentation has been performed correctly (for example, not including ilium on lumbar spine or ischium on hip calculations)

- Ensure the bone edges have been accurately detected, especially in individuals with very low BMD, where software cannot detect a clear density difference between soft tissue and bone

- To compare patient data across multiple examinations, the patient must be imaged in the same position each time. In addition, inadequate patient positioning can artificially decrease BMD (e.g. due to spinal rotation) or increase it (e.g. insufficient internal rotation of the femur)

- BMD scores in the lumbar spine can be artificially increased in conditions where there is a focal abnormality, such as degenerative sclerotic change, ankylosing spondylitis, or spinal fractures

- Patients may exhibit significant differences in BMD values or T scores for the left and right hips. To allow for these potential discrepancies, some facilities conduct dual-femur examinations, especially in cases where the lumbar spine information is invalid or incomplete.20

- Some patients have anatomical variations in the structure of the lumbar spine and surrounding structures that can affect the accuracy of DXA measurement.20 Two of most common variations include patients who have 6 lumbar vertebrae rather than 5, and patients who have absent ribs on T12. To avoid discrepancies that can influence BMD calculations, the lumbar vertebrae should be labelled from the bottom of the spine upward.20

- The ISCD has developed a set of Best Practices for DXA for radiographers. Highlights of these practices are summarized in Table 2.

Table 2. ISCD best practices for DXA.26

| Recommendations for scan acquisition and analysis | - At least one practicing DXA technologist, and preferably all, has a valid certiﬁcation in bone densitometry. - Each DXA technologist has access to the manufacturer’s manual of technical standards and applies these standards for BMD measurement. - Each DXA facility has detailed standard operating procedures for DXA performance that are updated when appropriate and available for review by all key personnel. - The DXA facility must comply with all applicable radiation safety requirements. - Spine phantom BMD measurement is performed at least once weekly to document stability of DXA performance over time. BMD values must be maintained within a tolerance of ±1.5%, with a deﬁned ongoing monitoring plan that deﬁnes a correction approach when the tolerance has been exceeded. - Each DXA technologist has performed in vivo precision assessment according to standard methods and the facility LSC has been calculated. - The least significant change for each DXA technologist should not exceed 5.3% for the lumbar spine, 5.0% for the total proximal - femur, and 6.9% for the femoral neck. |
| --- | --- |
| Recommendations for interpretation and reporting | - At least 1 practicing DXA interpreter, and preferably all, has a valid certiﬁcation in bone densitometry. - The DXA manufacturer and model are noted on the report. - The DXA report includes a statement regarding scan factors that may adversely affect acquisition/analysis quality and artifacts/confounders, if present. - The DXA report identiﬁes the skeletal site, region of interest, and body side for each technically valid BMD measurement. - There is a single diagnosis reported for each patient, not a different diagnosis for each skeletal site measured. - A fracture risk assessment tool is used appropriately. - When reporting differences in BMD with serial measurements, only those changes that meet or exceed the LSC are reported as a change. |

Potential Artifacts

Artifacts can influence DXA results and may lead to misdiagnosis. In the lumbar spine, these may include:20

- Calcified aorta

- Degenerative disc disease

- Osteoarthritis

- Sclerosis

- Osteophytes (bone spurs)

- Surgical changes

- Ingested tablets

The proximal hip is less susceptible to artifacts than the lumbar spine. Potential artifacts in this region include previous fractures or surgical replacement of the hip, as well as artifacts associated with removable objects (eg, coins, zippers).20

Patient Preparation

Effective patient preparation can increase the likelihood of a successful DXA scan. Some patient preparation steps include:9,20

- Patients should be screened to ensure that they can lie on their back for up to 10 minutes

- Ensure that patients have not received barium or gadolinium oral contrast within 2 weeks before the procedure, or calcium tablets within 24 hours before the procedure

- Asking patients to complete a questionnaire tailored to the DXA examination, including relevant questions about examination history, osteoporosis risk factors, prior surgery, and other associated conditions. An example of a patient history questionnaire is available at the ISCD website (https://iscd.org/learn/resources/bmc-patient-intake-questionnaire/).

- Patients should also be screened for medications associated with bone loss or increased fracture risk

- Gowning all patients, rather than allowing patients to wear street clothes, reduces the likelihood of interference from clothing materials. Patients should also be asked to remove any removable metallic objects, including bars and jewelry.

- Obtaining the patient’s height and weight, which are used by the DXA scanner to determine the correct scan values and, in some cases, the suggested scan mode

- If patients underwent DXA previously ensure that they have brought a copy of their results for comparison

Contraindications for DXA

DXA is associated with a low radiation dose, and there are no absolute contraindications to the procedure.9, 20 DXA should be delayed for patients who recently received intravenous contrast media, radionuclides, or a barium enema. The scan may be cancelled for people who have extensive degenerative changes; who have surgical implants or other nonremovable objects in scanning locations that could affect the scan; or who cannot be positioned properly or cannot remain still through the exam.20 Pregnancy is a relative contraindication, and the referring physician should discuss the risks and benefits of DXA with the patient.9

Summary and Conclusions

Osteoporosis is a chronic disorder that is characterized by reduced bone mineral content, loss of bone density, and increased risk of fracture. BMD is an important factor influencing bone strength and fracture risk, and it may be described clinically in terms of an areal BMD measurement (g/cm2) or in terms of appropriate reference populations (T score or Z score). Many clinical practice guidelines recommend DXA assessment at sites such as the spine, hip, and distal radius in screening, diagnosis, and monitoring of osteoporosis, with additional tools (eg, FRAX® score, VFA) being useful in certain situations. In addition to image acquisition, radiographers often carry out several different tasks in their interactions with patients with osteoporosis, including clinical history taking, fracture risk assessment, patient and professional education, and clinical research. Effective patient preparation and appropriate imaging technique can ensure that high-quality DXA images are obtained consistently over time.

Porter JL, Varacallo M. Osteoporosis. [Updated 2023 Aug 4]. In: StatPearls [Internet]. Treasure Island (FL): StatPearls Publishing; 2024 Jan-. Available from: https://www.ncbi.nlm.nih.gov/books/NBK441901/. Accessed February 12, 2024.

Lin JT, Lane JM. Osteoporosis: a review. Clin Orthop Relat Res. 2004;(425):126-134.

Bone Health & Osteoporosis Foundation. Osteoporosis Fast Facts. https://www.bonehealthandosteoporosis.org/wp-content/uploads/Osteoporosis-Fast-Facts-2.pdf. Accessed February 12, 2024.

James R, Griffin JGL, Senior C, Love R. The role of the Radiographer in osteoporosis and fracture prevention services - a narrative review. Radiography (Lond). 2021;27(Suppl 1):S34-S38.

Formosa MM, Christou MA, Mäkitie O. Bone fragility and osteoporosis in children and young adults. J Endocrinol Invest. 2024;47(2):285-298.

Herath M, Cohen A, Ebeling PR, Milat F. Dilemmas in the Management of Osteoporosis in Younger Adults. JBMR Plus. 2022;6(1):e10594.

Hadjidakis DJ, Androulakis II. Bone remodeling. Ann N Y Acad Sci. 2006;1092:385-396.

Paspaliaris V, Kolios G. Stem cells in Osteoporosis: From Biology to New Therapeutic Approaches. Stem Cells Int. 2019;2019:1730978.

Banks KP, Farrell MB, Gunther RS, McWhorter NE, Byerly DW, Peacock JG. Improving DXA Quality by Avoiding Common Technical and Diagnostic Pitfalls: Part 1. J Nucl Med Technol. 2023;51(3):167-175.

Ott SM, O'Hanlan M, Lipkin EW, Newell-Morris L. Evaluation of vertebral volumetric vs. areal bone mineral density during growth. Bone. 1997 Jun;20(6):553-6.

Cummings SR, Bates D, Black DM. Clinical use of bone densitometry: scientific review. JAMA. 2002;288(15):1889-1897.

Brown JP, Don-Wauchope A, Douville P, Albert C, Vasikaran SD. Current use of bone turnover markers in the management of osteoporosis. Clin Biochem. 2022;109-110:1-110.

LeBoff MS, Greenspan SL, Insogna KL, et al. The clinician's guide to prevention and treatment of osteoporosis. Osteoporos Int. 2022;33(10):2049-2102.

Kanis JA on behalf of the World Health Organization Scientific Group. Technical Report. World Health Organization Collaborating Centre for Metabolic Bone Diseases, University of Sheffield; UK: 2007. 2007. Assessment of osteoporosis at the primary health-care level.

International Osteoporosis Foundation. Fragility Fractures. https://www.osteoporosis.foundation/health-professionals/fragility-fractures. Accessed February 12, 2024.

Dyer SM, Crotty M, Fairhall N, Magaziner J, Beaupre LA, Cameron ID, Sherrington C; Fragility Fracture Network (FFN) Rehabilitation Research Special Interest Group. A critical review of the long-term disability outcomes following hip fracture. BMC Geriatr. 2016 Sep 2;16(1):158.

LeBlanc ES, Hillier TA, Pedula KL, Rizzo JH, Cawthon PM, Fink HA, Cauley JA, Bauer DC, Black DM, Cummings SR, Browner WS. Hip fracture and increased short-term but not long-term mortality in healthy older women. Arch Intern Med. 2011 Nov 14;171(20):1831-7.

Expert Panel on Musculoskeletal Imaging. ACR Appropriateness Criteria® Osteoporosis and Bone Mineral Density: 2022 Update. J Am Coll Radiol. 2022;19(11S):S417-S432.

International Society for Clinical Densitometry. Indications for Bone Mineral Density (BMD) Testing. https://iscd.org/official-positions-2023/.  Accessed February 12, 2024.

Berry ME. DXA Scanning of the Lumbar Spine and Proximal Femur. Radiol Technol. 2018;89(5):509-515.

Watts NB. The Fracture Risk Assessment Tool (FRAX®): applications in clinical practice. J Womens Health (Larchmt). 2011 Apr;20(4):525-31.

Bouxsein ML, Eastell R, Lui LY, et al. Change in Bone Density and Reduction in Fracture Risk: A Meta-Regression of Published Trials. J Bone Miner Res. 2019;34(4):632-642.

Choplin RH, Lenchik L. A Practical Approach to Interpretation of Dual-Energy X-ray Absorptiometry (DXA) for Assessment of Bone Density. Curr Radiol Rep. 2014;2:48.

International Society for Clinical Densitometry. DXA Atlas Preview: Incorrect Hologic Hip Analysis. https://iscd.org/incorrect-hologic-hip-analysis/.  Accessed February 12, 2024.

DeSai C. Dual-energy x-ray absorptiometry. Radiopaedia. September 11, 2023. https://radiopaedia.org/articles/dual-energy-x-ray-absorptiometry-1?lang=us.  Accessed February 12, 2024.

Lewiecki EM, Binkley N, Morgan SL, et al. Best Practices for Dual-Energy X-ray Absorptiometry Measurement and Reporting: International Society for Clinical Densitometry Guidance. J Clin Densitom. 2016;19(2):127-140.